Supplementary Data 2

Specifications of the hydrogen gas generator H2JI1

| Model | H2JI1 (Doctors Man Co. Ltd.) |
| --- | --- |
| Hydrogen purity | > 99.999% |
| Hydrogen flow rate | 250 mL/min |
| Cell type | Proton-exchange membrane (PEM) |
|  | 100% titanium |
| Max. outlet pressure | 700 Kpa |
| Power consumption | 140 W |
| Input voltage | 110-240 V / 50-60 Hz |
| Pressure accuracy | 10 Kpa (±0.5%) |
| Weight (dry) | 13 kg |
| Index of protection | IP2x |
| Overvoltage category | II |
| Pollution degree | 2 |
| Sound pressure level | 46 dB(A) |
| Case dimensions | 230×370×480 mm (W×D×H) |